## Slide 1: Numerical Analysis of Aqueous Humor Flow in Healthy and Glaucomatous Eyes using a MIG Stent and artificial TM.

## Slide 2: Outline
01
02
Objective
Introduction
03
Methodology & results
04
Recap
05
Future Work
06
Gant Chart

## Slide 3: 01
Objective

## Slide 4: Objective
Model normal and glaucomatous eye with stent and without stenting
Propose a new glaucoma treatment
Stenting
Engineered TM

## Slide 5: 02
Introduction

## Slide 6: Glaucoma
Is an eye condition where the optic nerve is damaged.
It's caused by fluid building up in the front part of the eye, which increases the IOP

## Slide 7: Normal Aqueous Humor Flow
https://entokey.com/structure-and-mechanisms-of-trabecular-outflow/

## Slide 8
Primary Open Angle Glaucoma

## Slide 9
Global prevalence of primary open-angle glaucoma
Weinreb, R. N. et al. (2016) Primary open-angle glaucoma
Nat. Rev. Dis. Primers doi:10.1038/nrdp.2016.67
12% of all blindness cases worldwide in 2014 s worldwide
Notes: For individuals ≥40 years of age, the population prevalence data (%) in 2015 per region are colour-coded
Prevalence:s the proportion of a particular population found to be affected by a medical condition at a specific time

## Slide 10: Treatments
Destroy ciliary body cells
Open holes in the trabecular meshwork
Laser Treatment
Eye Drops
Shunt devices
Ahmed valved Device
Trabeculectomy
Micro stent

## Slide 11: 03
Methodology

## Slide 12: Workflow
Eye Modelling
Modelling
FEM
3D modelling
Stent
Eye
Outer structure
TM, SC, CC
Flow volume
Meshing
Fluid analysis
Structural analysis
Tissue engineered TM
Posterior eye

## Slide 13: Finite element analysis
By using material properties and boundary conditions of aqueous humor fluid and eye layers that we connected from published papers, we managed to see the fluid simulation, pressure contour, velocity streamlines and wall sheer stress that results from the flow.

## Slide 14
Main steps for using FEM are as follows:
Apply Loads.
Specify the Analysis settings.
Define Initial and Boundary Conditions.
Assign material & type for each part.
Mesh the geometry.
Import Geometry parts.
1
2
3
4
5
6
7
Solve.

## Slide 15: FEM equations
The fluid is modeled using the continuity and Navier-Stokes equations for incompressible Newtonian flow.
Where v, p and n are the velocity, pressure and viscosity of the fluid, respectively.

## Slide 16: FEM equations
The stress in the tissue is computed through the following equation
Where n and n+1 refer to successive time steps and K and G are the bulk and shear moduli of the tissue, and is incremental displacement)

## Slide 17
Assigning material properties

## Slide 19: Boundary Conditions

## Slide 20: Modelling
Data collection

## Slide 21: Eye
Outer structure of the eye

## Slide 22
Structures of interest TM, SC, CC
CC
SC
TM

## Slide 23: Flow Domain
Flow domain, from ciliary body to collector channels passing through the TM, SC, and CC to study the AH flow which.

## Slide 24
Meshing trials
Total of 40 trials
31 for the element sizes in the body and through 5 other faces
6 for the # of inflation layers
3 for the thickness of inflation layers

## Slide 25
Meshing

## Slide 26
Results of normal eye
Pressure contour of the normal eye
The pressure on the flow domain which gets higher by passing through narrow spaces

## Slide 27
Wall sheer stress
The wall sheer stress that results from the AH flow in normal eye

## Slide 28
Results of glaucomatous eye
Pressure contour of the glaucomatous eye
The pressure increases as illustrated in the glaucoma condition

## Slide 29
Wall sheer stress
The wall sheer stress that results from the AH flow in glaucomatous eye

## Slide 30: Stent Modeling
Modeling of iStent inject which has the highest impact compared to the available stents in the market

## Slide 31
Head, which resides in Schlemm’s canal.
Thorax, which resides in the TM.
Flange, which resides in the anterior chamber.
iStent inject

## Slide 32
Insertion of stent
2 stents are injected 30̊ apart.
The stents are injected into the TM, SC, CC

## Slide 33
Pressure contour of the glaucomatous eye vs the eye with the iStent inject

## Slide 34
Wall sheer stress of the glaucomatous eye vs the eye with the iStent inject

## Slide 35: Engineered TM

## Slide 36: Engineered TM

## Slide 37
Pressure contours of the glaucomatous vs the eye with engineered TM

## Slide 38
Wall sheer stress of glaucomatous eye vs eye with engineered TM

## Slide 39
hot areas in pressure contours of engineered TM with 20x50 mesh(right) vs 20x100 mesh(left)

## Slide 40: Posterior eye
Data collection

## Slide 41
Posterior eye

## Slide 42
Body element size(m) | 2e-4
Pia mater face element size(m) | 4e-4
Max skewness | 0.8997
Min orthogonal quality | 0.10029
Max aspect ratio | 8.95
Meshing

## Slide 43
Assigning material properties
(Posterior model)
Eye structure | Young’s modulus(MPa) | Poisson ratio
LC | 0.3[3] | 0.49[3]
PLNT | 0.03[3] | 0.47[7,8]
Pia matter | 3[3] | 0.49[3]
Dura mater | 9[3] | 0.49[3]
Vessel | 5[3] | 0.49[3]

## Slide 44
Three Displacements
Three pressures
Boundary Conditions & Loading Conditions

## Slide 45
Total deformation of normal eye
Total deformation of glaucomatous eye
Results of posterior eye

## Slide 46
Total deformation using eye stent inject
Results of posterior eye
Total deformation using Tissue engineered TM

## Slide 47: 04
Future Work

## Slide 48: Future work
Designing new stents geometries
Treating glaucoma via tissue engineered trabecular meshwork to replace the faulty one

## Slide 49: 05
Gant Chart

## Slide 51
Team members
Hager Ashraf Helal
Haidy Sayed Hassan
Sara Mohammed Habo

## Slide 52
Thank you !